## Individual Summary
MEDICAL DEVICE AUTHORITY
Grandfathering Program : Skill Assessment & Gap Analysis
Name: | [7 empty] | NRIC :
Phone No. : | [7 empty] | Current Employment Designation:
Email : | [7 empty] | Relevant Qualification :
Institution : | [7 empty] | Years of Experience :
Number of equipment maintained in a year :
No | Medical Device | Classification | Scoring Summary | [5 empty] | Committee Recommendation
|  |  | Level 1 |  | Level 2 |  | Level 3
1 | Radiology & Imaging | Basic | 0% | 104 | 0% | 120 | 0% | 160
|  | Intermediate | 0% | 195 | 0% | 225 | 0% | 300
|  | High | 0% | 169 | 0% | 195 | 0% | 260
2 | Laboratory | Basic | 0% | 325 | 0% | 375 | 0% | 500
|  | Intermediate | 0% | 741 | 0% | 855 | 0% | 1140
High
3 | Diagnostics | Basic | 0% | 377 | 0% | 435 | 0% | 580
|  | Intermediate | 0% | 741 | 0% | 855 | 0% | 1140
High
4 | Therapeutic | Basic | 0% | 637 | 0% | 735 | 0% | 980
|  | Intermediate | 0% | 494 | 0% | 570 | 0% | 760
|  | High | 0% | 338 | 0% | 390 | 0% | 520
|  |  | Management 1 |  | Management 2 |  | Management 3 |  | Committee Recommendation
5 | Management |  | 100% | 24 | 100% | 48 | 100% | 56

## Basic
Assessment on individual skill
Classification | Type of Equipment | Understanding of the anatomy, physiologic and active medical device classification for specific medical device. | Understanding of specific medical devices operations and its applications. | Identify and verify operation of all safety features for specific medical devices. | Be able to perform an effective electrical safety procedure on the specific medical device. | Understanding of test fixtures and test equipment specific to the medical device. | Understanding of manufacturer Planned Preventive Maintenance (PPM) procedures and follows appropriate steps to complete the task for specific medical devices. | Be able to perform an effective performance testing and calibration on the specific medical device. | Be able to complete accurately the necessary Biomedical Engineering related documentation. | Breakdown Response | Equipment resetting and general checking | Common repair such as replacement of light bulbs, batteries, probes, electrode, tubing, and equipment consumables. | Troubleshoot and repair minor defect related to power supply. | Spare parts identifications | Repair and replacement of equipment modules, assemblies or boards (PCB) | Repair and replacement of component or subcomponent of the equipment PCB | Performing complex maintenance tasks that call for special skills, tools, or equipment | Software re-programming of medical device | Performing specialized calibration on medical device | Modification and upgrading of medical device system & software. | Total overhaul or refurbishment of medical device | Total
Radiology & Imaging | Cameras, Identification | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No |  | No
| Film Digitizers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No |  | Yes
| Image Digitization Systems, Computed Radiography | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Laser Imagers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| X-ray Film Handling Equipment, Automatic, Daylight | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| X-ray Film Processors, Automatic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Positioning Aids, Radiographic/Radiotherapeutic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Densitometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
Laboratory | Balances | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Baths | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Bilirubinometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Centrifuges, Floor, Low-Speed | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Centrifuges, Tabletop, High-Speed | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Chambers, Anaerobic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Concentrators, Specimen | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Densitometers, Laboratory | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Diluters | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Dispensers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Dryers, Slide | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Electrophoresis Systems | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Hot Plate/Stirrers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Laboratory Incubators | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microtomes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Mixers/Shakers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Pumps, Laboratory | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Rotators | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Photometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Sedimentation Rate Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Slide Stainers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lights, Ultraviolet, Germicidal | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| View Boxes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Water Purification Systems, Deionization | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Water Purification Systems, Ultraviolet | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
Diagnostics | Analysers, Point-of-Care, Whole Blood, Cardiac | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzer, Point-of-Care, Breath, Alcohol | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Point-of-Care, Whole Blood, Coagulation | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Point-of-Care, Whole Blood, Glucose | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Point-of-Care, Whole Blood, Multianalyte, Cardiovascular Marker | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Audiometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cardiotocographs | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| ECG Monitors | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| EEG Monitors | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Electrocardiographs, Single-Channel | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Electrocardiographs, Multichannel | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Electroencephalographs | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Electromyographs | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Fetal Heart Detectors | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Laryngoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Oximeters, Pulse | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Recorders, Graphic, Evoked Potential, Auditory | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Recorders, Graphic, Evoked Potential, Somatosensory | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Recorders, Graphic, Evoked Potential, Visual | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Recorders, Graphic, Physiologic, Anesthesia | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Recorders, Graphic, Trend, Heart Rate | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Recorders, Graphic, Trend, Temperature | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Flowmeters, Pulmonary Function | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Ophthalmoscopes/Otoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Scales | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Sphygmomanometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Thermometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Transilluminators | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Treadmills | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
Therapeutic | Analgesia Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Aspirators | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cast Cutters | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Compression Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Dental Delivery Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Acrylic Curing Units, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Dental Handpiece Maintenance Unit | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Handpieces, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Polishing unit, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Polymer Applicator, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Presses, Flask, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Sandblaster, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Trimmers, Model, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Vacuum-Mixing Devices, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Welding Units, Orthodontic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Ergometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Casting Units/Furnaces, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Exercisers, Continuous Passive Motion | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Chairs, Examination/Treatment, Ophthalmology | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Flowmeters, Blood | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Hearing Aids | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Heating Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Moist Heat Therapy Pack Conditioners | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Infusion Devices | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Injectors, medication/vaccine | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Instruments, Surgical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Insufflators | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lights, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lights, Examination | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lights, Infrared | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lights, Surgical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lights, Ultraviolet | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Massage Machines, Physical Therapy | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Matress Systems | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Nebulizers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Phototherapy Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Pumps, Breast | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Resuscitators, Pulmonary | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Saws | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Spirometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Caloric | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Tables, Operating | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Tourniquets | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Traction Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Training Aids | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Vacuum Extractors, Obstetrical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Vibrators | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Warming Units Blanket/Blood/Solutions | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Warming/Cooling Units, Patient | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0

## Intermediate
Assessment on individual skill
Classification | Equipment | Understanding of the anatomy, physiologic and active medical device classification for specific medical device. | Understanding of specific medical devices operations and its applications. | Identify and verify operation of all safety features for specific medical devices. | Be able to perform an effective electrical safety procedure on the specific medical device. | Understanding of test fixtures and test equipment specific to the medical device. | Understanding of manufacturer Planned Preventive Maintenance (PPM) procedures and follows appropriate steps to complete the task for specific medical devices. | Be able to perform an effective performance testing and calibration on the specific medical device. | Be able to complete accurately the necessary Biomedical Engineering related documentation. | Breakdown Response | Equipment resetting and general checking | Common repair such as replacement of light bulbs, batteries, probes, electrode, tubing, and equipment consumables. | Troubleshoot and repair minor defect related to power supply. | Spare parts identifications | Repair and replacement of equipment modules, assemblies or boards (PCB) | Repair and replacement of component or subcomponent of the equipment PCB | Performing complex maintenance tasks that call for special skills, tools, or equipment | Software re-programming of medical device | Performing specialized calibration on medical device | Modification and upgrading of medical device system & software. | Total overhaul or refurbishment of medical device | Total
Radiology & Imaging | Brachytherapy Systems, Remote Afterloading | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cameras, Multi-Image | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Densitometers, Bone | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cameras, Video, Dental, Intraoral/Extraoral | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Injectors, Contrast Media | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic Units, Chest | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic Units, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic Units, Dental Extraoral | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic Units, Dental Intraoral | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic Units, Mobile | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Scanning Systems, Ultrasonic, Abdominal | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Scanning Systems, Ultrasonic, Cardiac | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Scanning Systems, Ultrasonic, Endoscopic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Scanning Systems, Ultrasonic, General-Purpose | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Scanning Systems, Ultrasonic, Obstetric/Gynecologic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
Laboratory | Analyzers, Laboratory, Blood, Glycated Hemoglobin | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Blood, Urea Nitrogen | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Blood Gas/pH/Electrolyte | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Body Fluids, Calcium | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Body Fluids, Chloride | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Body Fluids, Creatinine | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Body Fluids, Electrolyte | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Body Fluids, Enzyme | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Body Fluids, Glucose | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Breath, Carbon Dioxide | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Breath, Oxygen | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Clinical Chemistry, Automated | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Clinical Chemistry, Automated, Continuous-Flow | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Clinical Chemistry, Automated, Discrete | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Clinical Chemistry, Manual | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Hematology, Blood Grouping | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Hematology, Cell Counting | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Hematology, Coagulation | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Hematology, Erythrocyte Aggregation | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Hematology, Hemoglobin | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Hematology, Platelet Aggregation | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Immunoassay, Chemiluminescent | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Immunoassay, Fluorimetric | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Immunoassay, Photometric | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Immunoassay, Photometric, Enzyme (EIA) | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Immunoassay, Photometric, Microplate Reading | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Immunoassay, Rapid Test, Cardiac Marker | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Chambers, In Vitro Fertilization | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Microbiology, Blood Culture, Automated | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Microbiology, Blood Culture, Mycobacteria | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Microbiology, Susceptibility, Automated | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Microbiology, Urine Bacteriuria | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Semen | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Laboratory, Urine, Automated | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| DNA Sequencing Systems | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Immunology, Tissue Typing (HLA) Automated | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Chromatography Systems, Gas | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Chromatography Systems, Liquid | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Chromatography Systems, Liquid, Packed Column, High-Pressure | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Chromatography Systems, Liquid, Packed Column, High-Pressure, Bonded-Phase | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Chromatography Systems, Liquid, Planar, Thin-Layer | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Culture Media Preparators | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cytometers, Automated | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cytometers, Manual | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Homogenizers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microscopes, Light, Laboratory | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microscopes, Light, Laboratory, Brightfield | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microscopes, Light, Laboratory, Fluorescence | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microscopes, Light, Laboratory, Inverted Stage | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microscopes, Light, Laboratory, Phase Contrast | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microscopes, Light, Laboratory, Stereo | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microtomes, Cryostat | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Samplers, Laboratory, Automated | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Spectrometers, Mass | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Spectrophotometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Spectrum Analyzers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Tissue Embedding Equipment | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
Diagnostic | Analyzers, Physiologic, Body Composition | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Erection/Tumescence | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Joint Laxity | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Middle Ear | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Neuromuscular Function, Body Motion | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Peristaltic Motility | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Pressure Points | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Pulmonary Function | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Somnography | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Analyzers, Physiologic, Visual Function | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Auditory Function Screening Devices | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Blood-Flow Detectors, Ultrasonic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Carbon Dioxide Monitors | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Bronchoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Choledochoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Colonoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Colposcopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cystoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cystourethroscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Duodenoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Gastroduodenoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Gastroscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Hysteroscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Laparoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Nasopharyngoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Nephroscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Rhinoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Sigmoidoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Washers, Flexible Endoscope | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cameras, Fundus | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Corneal Topography Systems | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Perimeters, Ophthalmic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Retinoscopes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Slit Lamps | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Synoptophores | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Tonometers, Ophthalmic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microscopes, Light, Operating | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Apnea Monitors | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Blood Gas Monitors, Carbon Dioxide | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Blood Gas Monitors, Oxygen | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Monitors, Bedside, Intracranial Pressure | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Monitors, Bedside, Physiologic Oximetry Tissue | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Monitors, Physiologic, Vital Signs | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Multiple Medical Gas Monitors | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Nerve Function Monitors | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Physiologic Monitoring Systems, Acute Care | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Physiologic Monitoring Systems, Cardiac Catheterization | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Physiologic Monitoring Systems, Cardiac Electrophysiology | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Physiologic Monitoring Systems, Neonatal | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Physiologic Monitoring Systems, Stress Exercise | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Physiologic Monitoring Systems, Stress Exercise, Cardiac | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Simulators, Cardiac, Electrocardiography | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Simulators, Invasive Blood Pressure | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Simulators, Multiparameter | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Simulators, Noninvasive Blood Pressure | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Simulators, Respiration, Lung | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Spirometers | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
Therapeutic | Anesthesia Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cryosurgical Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Pacemakers, Cardiac | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Defibrillators, External, Automated | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Defibrillators, External, Manual | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Defibrillators, External, Telephonic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Dialyzer Reprocessing Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Hemodialysis Unit Conductivity Monitors | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Hemodialysis Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Hemofiltration Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Peritoneal Dialysis Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Water Purification Systems, Reverse Osmosis | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Drills, Biopsy | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Drills, Bone | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Drills, Fingernail | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Drills, Middle Ear Surgery | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Electrocautery Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Electrosurgical Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Electrosurgical Units, Monopolar/Bipolar,Argon-Enhanced Coagulation | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Ear/Nose/Throat Treatment Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cryosurgical Units, Ophthalmic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Examination/Treatment Stands, Ophthalmic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Incubators, Infant | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Microwave Therapy Systems | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Electrical, Neuromuscular | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Electrical, Brain, Convulsive Therapy | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Electrical, Carotid Sinus Nerve, Blood Pressure | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Electrical, Neuromuscular, Scoliosis | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Electrical, Peripheral Nerve, Acupuncture | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Electrical, Peripheral Nerve, Analgesic, Transcutaneous | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Electrical, Peripheral Nerve, Block Monitoring | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stimulators, Electrical, Soft Tissue | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Ultrasound Therapy/Neuromuscular Stimulation Systems, Physical Therapy | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Continuous Positive Airway Pressure Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Ventilators, Anesthesia | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Ventilators, Intensive Care | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Ventilators, Portable/Home Care | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Vitrectomy Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0

## High
Assessment on individual skill
Classification | Equipment | Understanding of the anatomy, physiologic and active medical device classification for specific medical device. | Understanding of specific medical devices operations and its applications. | Identify and verify operation of all safety features for specific medical devices. | Be able to perform an effective electrical safety procedure on the specific medical device. | Understanding of test fixtures and test equipment specific to the medical device. | Understanding of manufacturer Planned Preventive Maintenance (PPM) procedures and follows appropriate steps to complete the task for specific medical devices. | Be able to perform an effective performance testing and calibration on the specific medical device. | Be able to complete accurately the necessary Biomedical Engineering related documentation. | Breakdown Response | Equipment resetting and general checking | Common repair such as replacement of light bulbs, batteries, probes, electrode, tubing, and equipment consumables. | Troubleshoot and repair minor defect related to power supply. | Spare parts identifications | Repair and replacement of equipment modules, assemblies or boards (PCB) | Repair and replacement of component or subcomponent of the equipment PCB | Performing complex maintenance tasks that call for special skills, tools, or equipment | Software re-programming of medical device | Performing specialized calibration on medical device | Modification and upgrading of medical device system & software. | Total overhaul or refurbishment of medical device | Total
Radiology & Imaging | Cameras, Gamma | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Scanning Systems, Computed Tomography | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Computers, Radiotherapy Planning System | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cyclotrons | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic/Fluoroscopic Systems, Angiographic/Interventional | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic/Fluoroscopic Systems, General-Purpose | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic/Fluoroscopic Systems, Urologic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic/Fluoroscopic Units, Mobile | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Linear Accelerators | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Scanning Systems, Magnetic Resonance Imaging | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Radiographic Units, Mammographic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Scanning Systems, Positron Emission Tomography | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Radiographic/Tomographic Systems, Linear | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
Therapeutic | Microscopes, Scanning Laser, Optical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stereotactic Systems, Neurosurgical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stereotactic Systems, Orthopedic, Surgery | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stereotactic Systems, Otorhinolaryngology | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Stereotactic Systems, Radiosurgical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Cataract Extraction Units, Phacoemulsification | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Circulatory Assist Units, Intra-Aortic Balloon | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Circulatory Assist Units, Venous Return | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Argon, Ophthalmic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Diode, Ophthalmic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Excimer, Ophthalmic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Nd:YAG, Ophthalmic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Heart-Lung Bypass Units | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Irrigation/Distention Systems | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Argon, Surgical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Carbon Dioxide, Dental | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Carbon Dioxide, Surgical/Dermatologic | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Diode, Biostimulation | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Dye, Photodynamic Therapy | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Ho:YAG, Surgical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Nd:YAG, Frequency-Doubled | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lasers, Nd:YAG, Surgical | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lithotripters, Extracorporeal | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
| Lithotripters, Intracorporeal | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Microwave Therapy Systems, Tissue Ablation, Endometrial | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0
| Thyroid Uptake Systems | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0

## Management
Assessment on Individual Management Competence
Rating to be applied | No/lack of experience and/or knowledge that can be applied. | Minimal experience and/or knowledge, a little exposure, informal observation and low ability to apply. | Experience and/or knowledge has been acquired, been practiced and can be applied. | Extensive experience acquired, frequently practised, in-depth knowledge acquired with ability to analyze and make improvements.
| 1 | 2 | 3 | 4
No | Medical Device Management Skills |  |  | Management 1 | Management 2 | Management 3
1 | General technical support and facilities |  |  | 4 | 4 | 4
2 | Scheduled maintenance management |  |  | 4 | 4 | 4
3 | Unscheduled maintenance management |  |  | 4 | 4 | 4
4 | Communication skills |  |  | 4 | 4 | 4
5 | Biomedical Engineering Services documentations |  |  | 4 | 4 | 4
6 | Hospital Biomedical Engineering Services administrative functions |  |  | 4 | 4 | 4
7 | Education and training for Biomedical Engineering |  |  |  | 4 | 4
8 | Staff supervision and monitoring |  |  |  | 4 | 4
9 | Relevant contractual management and implementation |  |  |  | 4 | 4
10 | Act, Regulations, Standard, quality and risk management |  |  |  | 4 | 4
11 | An advisory service on available Biomedical Engineering technology |  |  |  | 4 | 4
12 | Planning, evaluation, procurement and asset management of medical devices |  |  |  | 4 | 4
13 | Service management: To provide organisation with vision, leadership and resources to achieve planned service goals and objectives. |  |  |  |  | 4
14 | Biomedical Engineering research and development. |  |  |  |  | 4
|  |  | Total | 24 | 48 | 56